## Slide 1: Mantid Current Development and other news
Nicholas Draper
Scientific Steering Committee 2014

## Slide 2: Deployment

## Slide 3: Contributors
NMI3 supported evaluation
IN4,5 & 6
D33
Focus
Lujan Nexus Load algorithm
Improving McStas – Mantid integration
LoadMcStas
TofTof

## Slide 4: What we can do - Tools

## Slide 5: What can we do - Visualization

## Slide 6: What we can do - Scripting
Python Control
  Within MantidPlot or command line
  iPython Shell
  Integrated numPy
  Python Plugins
    Algorithms
    Fitting functions
    User interfaces
  Automated reduction

## Slide 7: Cleaner Interface
Simplified Tool bar redesign
Instrument View improvements
  Default unwrapped views for instruments, side by side view
  Improved tools for selection, masking and grouping
  Display of guides, choppers etc
Easily see Monitors and details of grouped detectors
Offline Help
New ICAT interface

## Slide 8: Framework
File loading improvements
  Capability and performance
Curve fitting and optimisation
  Stability of back to back exponential curve fitting
Visualization of Structure Factors from Molecular Dynamics Simulations (Sassena integration)
Tube Calibration
Live Data
Parallel reduction

## Slide 9: Visualisation
Incorporation of features developed with Kitware
  Visualization of non orthogonal data
  Ability to provide axis labels from datasets
  Ability to provide "time" label from datasets
  Allow override of axis extents for displaying original extents
  Porting of the MultiSlice view into ParaView proper
  QuadView (ThreeSlice) plugin that incorporates coordinate readout and dynamic slice repositioning

## Slide 10: Python
Managed removal of Python V1
Adoption of Ipython in all environments as the Mantid script interpreter
Implementation of a Script Library to support user sharing

## Slide 11: Inelastic
Direct Inelastic
  DGSReduction
Indirect
  Many improvements throughout convert to energy and Indirect Data Analysis
  Indirect BAYES inteface
    Now completely replaces all MODES functionality
  FORTRAN modules supported in 32 & 64 bit windows

## Slide 12: Large Scale Structures
SANS
  Beam centre correction for the High Angle Bank of LOQ and SANS2D
  Support for Wide angle corrections
  Support for CANSAS v1.1
Reflectometry
  Stitch1D created to make stitching 1D data easy
  Support for various reflectometry plots

## Slide 13: Diffraction
Powder Diffraction
  Many improvements to AlignAndFocusPowder
  LeBailFit and associated algorithms which can be used to determine an initial FULLPROF parameter file.
Single Crystal
  Single Crystal Diffraction User Interface
  Integration techniques have been modified and new ones developed:
    IntegrateEllipsoids
    IntegratePeakTimeSlices
  CreateFractionalPeaks to support magnetic scattering
  PeaksViewer
  Peaks overlays in VSI

## Slide 14: Outstanding Requirements
Improving support for instruments
  Engin-X, GEM, Larmor, Vesuvio, Muons, reflectometry
Autoreduction
  expand use at ISIS
ICAT
  uploading data
  implementation for SNS
  cross facility queries
Live data
  include log data (ISIS)

## Slide 15: Outstanding Requirements
Fitting
  Develop GUI for multi dataset fitting with global and local parameters
Corrections
  Implement complex sample environment multiple scattering corrections
VATES
  Single Xtal
    improve Peak integration & visualization of peak models
  Implement Command Syntax
  Quantification
    Complete validation & expand models

## Slide 16: Other groups interested in Mantid
Partners
  ESS
  C-SNS
  ILL?
  J-PARC?
Collaborators
  PSI
  ANSTO – Bilby
  HMI - EXED

## Slide 17: Our Graphs

## Slide 18: MatplotLib Graphs

## Slide 19: Multi data fitting gui

## Slide 20: Future Plans

## Slide 21: Intelligent Run Control
Does statistic meet criteria
BEGIN Run
Define Region of interest
Update from DAE & Reduce data to S(q,w)
Calculate statistic for ROI
Define error bar criteria
NO
YES
END run

## Slide 22: Current high Volume data
users need to:
  Use SSH
  Use VNC
  Use VPN
  federal ID and password
Also 3D views will not work well

## Slide 23: A possible solution

## Slide 24: Web data access and reduction

## Slide 25: Further information
Project web page - www.mantidproject.org
VATES Poster - Poster Session B
Tessella - Stand 18
Many Thanks to the Project Sponsors
And the development team