## Slide 1
Status of Mantid at the ILL
M. Gonzalez, P. Mutti, V. Reimund, A. Soininen, G. Vardanyan

## Slide 2
TOF
BS
PD
REFL
SANS
Development Status

## Slide 3
SANS
D11
  Monochromatic
D22
  Monochromatic
  Horizontal offset
D33
  Monochromatic
  Linear and variable TOF
  Front detector panels
Good match with LAMP, some difference with GRASP.

## Slide 4
TOF SANS I
Good agreement at medium Q, some divergence at low and high Q.
Averaging scheme
Weighting scheme
Wavelength range

## Slide 5
TOF SANS II
Q1DWeighted
2 step averaging
No weighting
Limited wavelength range

## Slide 6
Reflectometry
Data reduction
Resolution
Stitching
Good match with COSMOS for D17 in all modes
Couple of particular scenarios for Figaro are under investigation
Auto processing algorithm to reduce an entire row of a COSMOS table
D17 and FIGARO
Coherent and incoherent
Polarization analysis

## Slide 7
Powder Diffraction
D20, D2B - detector scans
Detector efficiencies using the vanadium scans

## Slide 8
Backscattering
Acquisition Modes
IN16B – doppler drive
BATS mode (TOF)
  Reduction to be implemented
Diffraction detectors
  Reduction to be implemented

## Slide 9
TOF Spectroscopy
When we share code, we share also the bugs!
SofQWNormalisedPolygon
was overestimating 2-theta widths of pixels causing artificial smoothing of the data, more prominent for detectors with large pixels
Standard plotting tool is provided.

## Slide 10
8 Reasons to move to Mantid
 | Before | After
Main language(s) |  | 
File format |  | 
Geometry | Point detectors | 
Version control |  | 
Automatic builds |  | 
Automatic tests |  | Unit, system, performance
Development team |  | 
Facility |  | 
ASCII
∅
∅
∅

## Slide 11
How does Mantid compare with previous tools ?
Scriptability | + | Great flexibility thanks to python simple API.
Plotting | ~ | Workbench should offer nicer plots.
GUI | ~ | Do not yet have technique specific reduction GUIs.
Correctness | ~ | Can be more accurate with geometric corrections. Needs to be in use for continuous validation and improvements.
Performance | ~ | Can be faster or slower. Equivalent for I/O dominated reductions.
Stability | ~ | Hard to crash mantid when running in batch mode python. Somewhat easier when running the MantidPlot.
Reproducibility | + | System tests ensure the reproducibility.
Learning curve | + | Easier to get into if you are familiar with python.

## Slide 12
Mantid is growing
But not unmanageably!
Constant effort to consolidate and reuse existing algorithms, share workflows where possible.
Figure by Simon

## Slide 13
Generally positive
Scriptability is appreciated
Plotting tools could be improved
Scientific validation could be more rigorous
Occasional instabilities in MantidPlot GUI
Absence of some common tools existing in LAMP
Inconveniencies for non-TOF data, especially scans
Lacking in post-reduction automation (fitting, analysis)
User feedback summary

## Slide 14
Reduction algorithms for another dozen of instruments
Continuous development and support for the techniques currently implemented
Auto processing algorithms campagne
GUI and live data reduction
Event mode data reduction for certain instruments
New staff to be recruited
Project to launch later this year
Phase II

## Slide 15
Thank you.