## Slide 1: Mantid Framework and Examples of its use
Toby Perring
STFC www.mantidproject.org

## Slide 2
Project History
July 2007 Requirements & Design
April 2008 V 1.0 First instrument support
Feb 2010 V1.1 Collaboration with SNS & HFIR & Support multiple techniques
Jan 2012 V2.0
Scientist validated results. VATES integration
May 2015 V3.4 Improved functionality and usability … Development Continues

## Slide 3
Partners
Prime Contractor
Contributors
Contributors

## Slide 4
Goals
  Consolidate the data reduction/analysis software for neutron/muon scattering
  Without restricting the needs of the instrument scientists
Key requirements
  Create a data reduction/analysis framework
    not instrument or technique dependent
  Cross-platform
    Windows, Linux, Mac
  Easily extensible
  Freely redistributable
  Open source
    You can see what is going on
    Good basis for collaboration
Project Goals

## Slide 5
Separation of Data and Algorithms
Encapsulated “User Code” in specific places
  Algorithms
  Workspaces
Use of interfaces to allow use of generic components
  QTI plot
  Gnu scientific library
  Open CASCADE
Reuse of existing components
Careful memory management when handling large datasets
  Sparse storage
  File backed workspaces
Design
Notes: Reuse of existing components: QTI plot; gnu scientific library (FITTING); oPENcASCADE – TRIANGULATION open source CAD for instrument plotting (real time)
Very large datasets:
- Sparse storage; file backing

## Slide 6
Future Instrument specific UI
Mantid Framework
Python
Command line & Scripting interface
MantidPlot Graphing and analysis
RAW data files
NEXUS data files
Future Instrument specific UI
Instrument log files
API
Workspaces
DAE direct access
Algorithms
User Defined
User Defined
Architectural Design - Overview
Notes: Pros: all the work in the framework; multiple interfaces (because not everyone just wants to use Python; see esp: unknown future instrument UI)
c++ faster (and people complain)
Con: more work looking after memory man. w.r.t just python

## Slide 7
Instrument independence
  Virtual instrument defined
    Loaded from xml definition
      Location, rotation and shape of every pixel
      Sample
      Source
Technique independence
  Algorithms
    Unit Reduction and analysis steps
  Workflow scripts / Algorithms
    Chain algorithms to perform a reduction workflow
Flexibility - Framework

## Slide 8
Algorithm Dialogs Custom Interfaces Custom Menus
Algorithms
Unit Conversions
Fit Functions Cost Models Constraints Minimiser
Workspaces
Archive Searching LiveData Listeners Data Catalogues
GUI
Framework
(Framework) Utility
Flexibility – Plug in extensions
Notes: GUI:interfaces in python;
Automatic GUIs when writing an algorithm
QT underneath any custom interfaces/menus [MantidPlot, but it is the only thing you would use anyway]
Workspaces and algorithms at run time
Algorithms: python (API), c++
Workspace: extend matrix, mdworkspace, tables (several variants under matrix: matrix2d, eventworkspace, single value). Written in c++
Fit functions in python
Interface with 3rd party code: do it within an algorithm.
Atomic Simulation Environment.

## Slide 9
Professional Project Management
Dedicated software engineers
  All with science BSc, many with PhD
Source code control in Github
Continuous build and testing
  20+ build servers managed through Jenkins
  World class static code analysis
  Over 8,500 automated unit tests
  Almost 300 automated system tests
Comprehensive documentation
  Including 675 automated tests on included scripts
  Both online and installed with Mantid
Professional Development

## Slide 10
Arithmetic
Correction Functions
  Absorption
  Background
  Efficiency
Data handling
Diagnostics
Calibration
Event Filtering
Optimisation
Transforms
  Masking
  Grouping
  Smoothing
  Unit conversions
Technique dependent
  Single Crystal
  Inelastic
  SANS
  Powder diffraction
~600
What we can do: Algorithms

## Slide 11
Scripts using the script window
Interactive via iPython
Can also be controlled direct from Python without a user interface
What we can do: Scripting

## Slide 12
What we can do: MantidPlot

## Slide 13
What we can do: MantidPlot

## Slide 14
Unwrapped 2D View
3D View
What we can do: Instrument View

## Slide 15: Use: ISIS
Notes: The extent of uptake: depends on the need:
- Powder diffraction at ISIS: existing reduction code just too old and inflexible
Single crystal diffraction: WISH: The existing code for the SXD instrument powerful, but not able to cope with data volumes
Direct geometry spectrometers: Mixed Matlab/FORTRAN code that was too difficult to maintain
DG visualisation: HORACE means it has not been such a priority
All groups are interested to different levels: but have to prioritise resources.

## Slide 16: Use: SNS
Beamlines | Inspection | Calibration | Reduction | Auto-Reduction | Fitting | Modeling | Live Data | Event Filtering | MantidplotPublication | Experiment Planning
USANS |  |  |  |  |  |  |  |  |  | 
Nomad |  |  |  |  |  |  |  |  |  | 
Basis |  |  |  |  |  |  |  |  |  | 
SNAP |  |  |  |  |  |  |  |  |  | 
REFM |  |  |  |  |  |  |  |  |  | 
REFL |  |  |  |  |  |  |  |  |  | 
CNCS |  |  |  |  |  |  |  |  |  | 
EQSANS |  |  |  |  |  |  |  |  |  | 
VULCAN |  |  |  |  |  |  |  |  |  | 
Corelli |  |  |  |  |  |  |  |  |  | 
Powgen |  |  |  |  |  |  |  |  |  | 
Mandi |  |  |  |  |  |  |  |  |  | 
Topaz |  |  |  |  |  |  |  |  |  | 
Hyspec |  |  |  |  |  |  |  |  |  | 
Vision |  |  |  |  |  |  |  |  |  | 
SEQUOIA |  |  |  |  |  |  |  |  |  | 
ARCS |  |  |  |  |  |  |  |  |  | 
>50% usage | 
Ocasional usage | 
No usage | 

## Slide 17
Data Analysis of QENS Experiments at ISIS
Indirect Data Reduction
Indirect Data Analysis
EISF
MSD
I(Q,t)
Fitting
Corrections for absorption and multiple scatterings
Bayesian Analysis (FABADA)
Model Fitting
Experiments
Data is transferable across facilities:
BASIS(SNS) and IN16B (ILL)
Both Scripting and GUI modes
Notes: Absorption (cylinder, annulus,flat, plate) – from Spenser’s MODES program; Fortran=>python) [but no generic algorithms] ) (makes approximations)
Detector efficiency
EISF elastic incch scatt func
Fitting: exponential (I(Q,t), stretched exponential; Lorentian S(Q,w)

## Slide 18
QENS Data Reduction in Mantid

## Slide 19
QENS Data Reduction in Mantid

## Slide 20
QENS Data Reduction in Mantid
Instrument
Analyser
Reflection
Detectors
Transmission

## Slide 21
QENS Data Reduction in Mantid

## Slide 22
QENS Data Analysis in Mantid
MSD
S(Q,ω)
Interface for fitting S(Q,ω) on Mantid
EISF
MSD
I(Q,t)
Absorption corrections
Notes: ‘Py’ button gives you the script
Instrument resolution from vanadium S(q,w)
Compare I(Q,t), S(Q,w): robust; personal preference!!!!
MSD picture: Solid=>plastic=>liquid ; survey in express application to support major application.

## Slide 23
Data Interpretation in Mantid: Materials Modelling
1548 processors on SCARF-RAL for Materials modelling
Experiments
Materials Modelling
e.g. (CASTEP, VASP, DLPOLY)
Python Wrapper
MANTID
nMoldyn
W
Notes: ARCHER (Edinburgh; apply ‘beam time’!)
nMoldyn (looked after by Mark Johnson at ILL): molecular dynamics calculations (CASTEP,: 512 atoms or 348 on SCARF) ; ViennaAbinitioSimulationProgram, DLPOLY 10^3 – 10^4 on ARCHER) and produces the outputs
e.g. Zeolite + water: melt the water (in the computer), follow trajectories into the zeolite => compute anything e.g. diffusion contants, correlation fuctions, MSQ, S(Q,w)….
Have written the python wrapper

## Slide 24
Data Interpretation: First Principles Simulation
Indirect Simulations interface
Experiment
Notes: The data is from NaF molten salts at 1300K. At different Q i.e. I(Q,t)
The limitations in the simulations are small cell size (512 atoms) and small time scale (50ps)
The limitations in the experiment are instrument resolution and finite dynamic range.

## Slide 25
VDOS from CASTEP is integrated with Mantid
Data Interpretation: First Principles Simulation
Notes: For compariosn on TOSCA:
Cannot calculate S(Q,w) yet – visual comparison: which peaks come from C, O, H etc.

## Slide 26
MAPS spectrometer (ISIS)
Direct Geometry
~105 detector elements
~500 energy bins
100-500 runs
 1010 voxels

## Slide 27
Direct Geometry data reduction
GUI
Script with a few parameters:
Sample run, white beam van, mono van run
Ei notional
Background integration time range
Autoreduce: web-based interface to set up as background process
Not yet polished: want to hide more
Powder diffraction, SX diffraction will follow

## Slide 28
Represent n-dimensional data in the complete manifold of interest
Efficiently handle sparse as well as dense n-dimensional data
Operate on such data very quickly and also use Mantid’s plugin framework to add new algorithm features
Visualize massive data sets in n-dimensions
Have these tools work for more than just one technique area
Simulation and fitting
Multi-dimensional data visualisation: Objectives
Notes: A summary of the high-level objectives for the VATES (Visualization and Analysis Toolkit ExtensionS) Project. Now fully integrated into and indistinguishable from Mantid.
This subproject is an ongoing effort and collaboration between ISIS/SNS and ESS.

## Slide 29
Horace
Dave
MSlice
ISAW
Tobyfit
Seeding projects
Notes: This is not a project in a vacuum. Lots of prototyping and seeking of knowledge and experience from previous projects. As well as emulating successful features, we have tried to learn from mistakes. Having a diverse and multi-disciplinary development team with direct access to instrument scientists is key.

## Slide 30: In-situ Rebinning
Notes: Taking a 4D SQW dataset and integrating, out the qz dimension, and mapping delta energy to the y direction.
Omitting a dimension is equivalent to integrating it out for BinMD. We also have a Horace style CutMD available from the Rebin drop down as well as the pixel-preserving SliceMD.

## Slide 31: nD Visualisation
Fe 200Ei 8K
Notes: Reduced data sets from multiple scans merged into a single multidimensional dataset. One reciprocal space dimension integrated out and visualized volume projection. All dimensions then rebinned uniformly inside the visualization window. All done in the Mantid application. No external tools needed. 28GB on disk but interactively visualized in 16GB RAM due to a large number of tricks and optimizations implemented in Mantid. We can also represent a 4th dimension on the time axis if we wish.

## Slide 32: Switching to Three-Slice View
Notes: Customized views allow us to view the data in various ways. We can switch between views at will. Here 3 orthonormal slices are created and can be moved independently.

## Slide 33: Switching to Multi-Slice View
Notes: Multi slice view. From the arrow markers in our 3D visualization, we can launch the 2D slicing tool at an exact point. Many of our visualization tools know how to shake hands like this.

## Slide 34: 2D Slicing and Plotting
Notes: Our 2D slice viewer has several very powerful inbuilt tools. One for which is the line viewer mode. So we can further reduce our data down to 1 dimension. Further rebinning may be performed to improve statistics.

## Slide 35: 1D Plot
Notes: Easy to programmatically or graphically move our line cut to other positions and overlay the results. The following plots have been created from the 2D slice above.

## Slide 36: Ongoing Work
Horace Commands
Simulation and Fitting
Usability
Visualisation speed
Simulation of MERLIN instrument resolution convolved with a SrFe2As2 model
Notes: We have a large amount of going work in this area.
Simulation and fitting is and active area of development using Toby fit as a template.
A number of the tools shown in the previous slide work very well and are critical for use in other technique areas such as SCD.
Cross-platform, multidimensional tools that work across technique areas are difficult to build. Making these tools easy to use is not trivial. Further to this, some operations are best performed via a command line interface form. We endeavor to provide both.
We have plans to make the visualization tools much faster. We hope to realize these plans in the coming months.

## Slide 37
1520 tubes x
128 pixels x
5000 tof channels =
18Gb / dataset
L1 = 40m
8mm * 8mm pixels @ L2 = 2.2m
Coverage ~360o in plane, 30o out of plane
Single crystal diffraction

## Slide 38
A Recent tough diffuse experiment
<1x1x0.1mm crystal
aligned
in basal plane
10, 35 38.5 & 150K
20 hours per run
38.5K data
VATES
PdCrO2 orders at 37.5K
Diffuse scattering in H,K Plane accessing
1/3 1/3 l, & 1/3 -2/3 l
Notes: fjshgdasg fhg
38
(1/3,1/3 ,L) (L=integer)
Just above TN rod like diffusion
Peak search
Get UB matrix
Convert to hkl
Shove it in the generic mNd viewer
VATES – VSI

## Slide 39
A Recent tougher diffuse experiment (2)
35K : T<TN
Slicing through the data :
Resolution limited Bragg peaks
S. Dugdale, S. Giblin, J.W. Taylor
to appear in Sci. Reports
Notes: fjshgdasg fhg
39
Now below Tn – sharp peaks along L (bottom right))
Then go to sliceviewer – see peak width – resolution limited.

## Slide 40
Use of VATES for showing integration boxes
NaCl SXD data plotted in q-space.
Spherical integration used here but elliptical and cluster models are also implemented. Get table of peaks
Can zoom in (with auto rebin) on peaks directly from peak list.
Notes: fjshgdasg fhg
40
SXD on NaCl
Loads of peaks (default view)
Findpeaks – get UB and refine UB
Algorithm to integrate peaks (spherical, elliptical,cluster of ellipsoids built up in algorithm)
hklIE as a big list; export => FullProf or your favourite refinement package.
Overplot to see if you’ve integrated properly;
- select a particular peak from the tabel, zoom in, close examine – all very rapidly (New)
PS/ axes can be labelled – just not here.
Later: CiF file atomic positions + symmetry info; will be able to simulate and look on same footing as data.

## Slide 41
Notes: We have a large amount of going work in this area.
Simulation and fitting is and active area of development using Toby fit as a template.
A number of the tools shown in the previous slide work very well and are critical for use in other technique areas such as SCD.
Cross-platform, multidimensional tools that work across technique areas are difficult to build. Making these tools easy to use is not trivial. Further to this, some operations are best performed via a command line interface form. We endeavor to provide both.
We have plans to make the visualization tools much faster. We hope to realize these plans in the coming months.

## Slide 42
Data Analysis of disordered materials
…

## Slide 43
Data Analysis of disordered materials
ISIS disordered materials group content with current data reduction and analysis software
Gudrun (data reduction)
  Easy to use
  Well-trusted
EPSR (modelling)
  ‘Gold standard’
BUT:
If starting from the beginning…
Longevity
Mantid requires additional algorithms:
Multiple scattering
Placzek corrections
Tough demands on current algorithms
Validation a large job
Notes: If you are starting from scratch

## Slide 44: Future Tasks

## Slide 45: Future Tasks
Multiple Scattering Corrections
Integration with Third Party simulation codes
  - McPhase, SpinW/Spinwavegenie, Gaussian, CASTEP etc
  - Simulation first, Optimisation later
Better use of facility / cloud resources
  - Remote desktop – Performance and stability
  - Client server Mantid
  - Web based UI
  - Parallel visualisation rendering

## Slide 46: Intelligent Run Control
Does statistic meet criteria
BEGIN Run
Define Region of interest
Update from DAE & Reduce data to S(q,w)
Calculate statistic for ROI
Define error bar criteria
NO
YES
END run
Future Tasks

## Slide 47: Future Tasks
Technique specific developments
  Support for imaging instruments
  Liquids, amorphous, PDF analysis
  Inelastic: resolution convolution
  Further planning tools
    :

## Slide 49: ISIS -> SNS
Robust framework
  Common development structure
  Multithreaded performance
  Documentation and training
  Automated build, test and deployment
Algorithms
  Over 150 algorithms already developed
Development support
  help
SNS -> ISIS
Improvements to build process
  Cmake, Hudson
Event Filtering and data analysis
Improved python code framework
Autoreduction system
New file format support
  NxSPE
  Event Nexus
Paraview, Kitware contract, VSI

## Slide 50: SNS -> ISIS
Improvements to build process
  Cmake, Hudson
Event Filtering and data analysis
Improved python code framework
Autoreduction system
New file format support
  NxSPE
  Event Nexus
Paraview, Kitware contract, VSI
Notes: Not a comprehensive list. Point is: Identified gain at point of joining was a freaction of what Mantid gained; …and opther wayu round of course.

## Slide 52
Magnetic diffuse scattering
0.9g sample. Ho3+ big moment
2013 : Using slice viewer with WISH data
Zigzag chains connecting
Honeycomb layers
2 Ln sites
Diffuse scattering k=0 type.
Also D7 (and D10) data in different planes.
Rod like features in h0l along l=1/2 integers
→ 1d- correlation in real space.
Notes: fjshgdasg fhg
52
2 La sites
Two type SRO fropmt he two chains
MC code simulates J|| / Jdiag (4 Js => 3 d.o.f.)
Python code to do MC; read back in to Mantid, compare
‘Optimisation by eye’

## Slide 53: Horace style commands
CutMD
CreateMD
SmoothMD
EvaluateFunction
…
Notes: We want users familiar with Horace commands to be at home in Mantid. We use Horace as a driver to fill the missing Algorithms in our toolset, for algorithms we already have we create aliases or WorkflowAlgorithms to repackage them for our Horace consumers.

## Slide 54
SASSIE
MD modelling of biological and soft matter systems
open source
www.ccpsas.org
Analysis Programs
Mantid
DAQ
NXS file
reduced data file
(1D: XML / TXT; 2D: TXT / HDF)
SANS Data Processing at ISIS
SasView
model / curve-fitting
open source
www.sasview.org
ATSAS
dummy atom / shape envelope modelling for biological systems
Other
Eg;
correlation function analysis
Mantid planning to implement ‘workflow processing’
Multi-facility collaborations involving ISIS
Sample changer control script

## Slide 55
‘Instrument View’
1D Reduced Data
(radial average)
Transmission Data
2D Reduced Data
functionality divided between multiple ‘tabs’
configuration file
range of output data formats
Mantid for SANS
option to enter run
numbers interactively
(as shown) or process
multiple data sets from
a spreadsheet list

## Slide 56
SasView
extensive model library
1D & 2D
fitting
Open source
Python / C++ (like Mantid)
Multiple optimisers
Nuclear & magnetic scattering
Developers from:
NIST
SNS
ISIS
ESS
ILL
ANSTO
TU Delft
more welcome!
data & fit
residuals
control of fit range
polydispersity & smearing
individual,
simultaneous,
or batch modes
of operation

## Slide 61
What we can do: MantidPlot

## Slide 62
QENS Data Reduction in Mantid
Instrument
Analyser
Reflection
Detectors
Transmission