## Slide 1
Mantid ILL Team: G. Vardanyan, I. Bush, M. Gonzalez, A. Soininen, V. Reimund
Mantid at the ILL

## Slide 2
Overview of Mantid at the ILL
Current status and future plans
Backscattering reduction (Gagik)
Time-of-flight spectroscopy (Antti)
Scanning instruments (Ian)
Outline
(Verena)

## Slide 3
Mantid data reduction for ILL instruments
Initial ILL Mantid algorithms were available
( loaders, instrument definitions, workflow algorithms )
Data Reduction scripts written in Python
often consisting of several algorithms
One instrument responsible per technique
Weekly meetings
Team development
e.g. for Backscattering and Time-of-Flight instruments
Mantid training ( e.g. for Time-of-Flight instrument scientists )

## Slide 4
First instruments
Technique | Instruments | Mantid release 2017 | ILL cycle 2017
Backscattering Spectroscopy | In16b | 3.9, Feb 13 | Jan 19 – March 8
Time-of-Flight Spectroscopy | In4, In5, In6 | 3.10, June 12 | Sept 1 – Oct 18
Development completed, minor changes and continuous verification

## Slide 5
Current development
Technique | Instruments | Mantid release 2017 (partially) | ILL cycle 2017
Reflectometers | D17 Time-of-Flight / monochromatic*, polarised / un-polarised Figaro | 3.10, June 12 3.10, June 12 | Sept 1 – Oct 18 Nov 3 – Dec 21
Powder Diffractometers | D1B, D20, D2B*, D4C* | 3.10, June 12 3.11 | Sept 1 – Oct 18 Nov 3 – Dec 21
* Moving detectors
Instrument definitions and loaders completed, reduction workflows (Python) in progress

## Slide 6
Future development
Technique | Instruments | Dates
Large-scale structure diffractometers | SANS D11, D22, D33 | End of 2017 – June 2018
Custom graphical user interfaces | Time-of-Flight Reflectometers … | End of Dec 2017
Liquid, polarized diffractometers, spectrometers and others | D4, D7, SALSA Lagrange, D16 | End of Dec 2018 May 2019

## Slide 7
Example prototype GUI (PyQt)
Will be based on DataProcessor widget
Data Handling
Event mode data (March 2018)
Live data listeners
  interaction with Nomad, May 2019)
Auto-reduction
  Background, Vanadium, … measurement recognition
-> realised for many other facilities
Mantid 4.0 contributions
Future development

## Slide 8
G. Vardanyan
Backscattering

## Slide 9
Operates in several modes:
  Quasi-elastic scattering (QENS); Doppler drive with sinusoidal profile
  Fixed window scans (FWS):
    Elastic; Doppler drive is stopped
    Inelastic; Doppler moves at constant speed
Data can be recorded:
  In mirror sense; when the data in doppler acceleration and deceleration phases are recorded separately
Backscattering – IN16B
Overview of the instrument
IN16B sub-microEV resolution backscattering spectrometer at ILL

## Slide 10
IN16B Reduction in Mantid
Data reduction is organized in three python workflow algorithms as follows
IndirectILLReductionQENS
IndirectILLReductionFWS
IndirectILLEnergyTransfer
Starting point was initial work done by Spencer & Co.
Critical requirement was multiple file handling - O(1000) for FWS
Automatic handling of different data and reduction types
To treat common steps
For single (or multiple summed) files

## Slide 11
Common reduction
IndirectILLEnergyTransfer
Automatically deduces the reduction type
Crops into left and right wings, if in mirror mode
Groups the pixels in multi-detectors
Normalizes to monitor:
  Bin-to-bin for QENS
  Integral-based for FWS
Converts channel # to energy transfer
Converts spectrum axis to scattering angle or momentum transfer
Outputs one or two workspaces, dependent on mirror mode

## Slide 12
QENS reduction
Raw Data
Empty container (background) subtraction:
  Bin-to-bin, with scale factor
Detector efficiency correction (calibration):
  Division by the integral of the peak in vanadium run
  Adjustable peak range
Peak alignment (unmirroring):
  Several options offered
  Vanadium run can be used for reference peak positions
  Uses simple Gaussian for peak finding through FindEPP algorithm
IndirectILLReductionQENS

## Slide 13
FWS reduction
Raw Data
Integration of the signal, automatic range
Construction of intensity as a function of the metadata, e.g. temperature
Empty container (background) subtraction
Detector efficiency correction (calibration)
Option to average or interpolate both the background and the calibration as a function of temperature
Output for each distinct Doppler’s energy value, including 0 for elastic scan
Elastic
Inelastic
IndirectILLReductionFWS

## Slide 14
Compatible results in all modes
Benchmarking against LAMP

## Slide 15
Indirect Reduction GUI
Custom interface (C++) in MantidPlot
Configures and runs the reduction algorithms

## Slide 16
A. Soininen
TOF Reduction

## Slide 17
IN4, IN6
  Traditional spectrometers with O(100) detectors
  Similar instruments (in Mantid’s point of view)
IN5
  Position sensitive detectors: O(10000) pixels
  High memory and CPU requirements
TOF spectrometers at ILL

## Slide 18
Instrument definitions
IN4 Instrument

## Slide 19
Typical experiment
Vanadium, empty container(s), sample(s)
Different temperatures, wavelengths
Missing data points
Need for flexibility in reduction

## Slide 20
Algorithms overview
Reduction consists of independent workflow algorithms
Enables working with complex datasets
CollectData: load files, simple reduction
Diagnose: find faulty detectors
IntegrateVanadium
(Apply)SelfShielding: absorption corrections
Reduction: calculate S(q,ω)

## Slide 21
Comparison Mantid vs. LAMP
The legacy LAMP workflow well reproducible in Mantid
Differences show up in S(θ,ω) (next slide)

## Slide 22
S(q,ω) Full geometry vs. point detectors

## Slide 23
Examples of other ILL specific work
Incident energy calibration (IN4, IN6)
Arbitrary TOF delay
Support for varying sample-to-detector distances
Locale issues (number formatting)

## Slide 24
I. Bush
Scanning Instruments

## Slide 25
Support case for instruments with moving detectors only
Instruments at the ILL include D2B, D4, D7, D16 and D17
Initial work for D2B – high resolution powder diffractometer with 128 tubes x 128 pixels x 25+ steps/scan ~ 400,000 points
Aims for Scanning Instruments at the ILL

## Slide 26
Requirement coincided with the ESS’s work on Instrument 2.0 in Mantid
ESS requirements for performance to support future instruments – addressing bottlenecks and adding MPI support
Part of the Instrument 2.0 design implemented early to also provide a long term solution for scanning instruments at the ILL
Work has been performed in close collaboration with Simon Heybrock and Owen Arnold at the ESS
https://github.com/mantidproject/documents/tree/master/Design/Instrument-2.0
Planning and Work with the ESS

## Slide 27
Old Position Access
ParameterMap
⚠ This is a highly simplified class diagram!
Component
getPos()
Detector
getPos()
Instrument
getPos()
Contains position relative to parent for every Component
1
1
0…*
1
Workspace
getDetector()

## Slide 28
New Position Access
DetectorInfo
position(index)
ParameterMap
No longer stores position information
Absolute position of every detector
SpectrumInfo
position(index)
Workspace
detectorInfo()
spectrumInfo()
28
29
30
31
Indexes for each detector
1
1
⚠ This is a highly simplified class diagram!

## Slide 29
SpectrumInfo & DetectorInfo Methods
bool isMonitor(const size_t index) const;
bool isMasked(const size_t index) const;
double l2(const size_t index) const;
double twoTheta(const size_t index) const;
double signedTwoTheta(const size_t index) const;
V3D position(const size_t index) const;
Quat rotation(const size_t index) const;
Access for non-scanning workspaces
bool isMonitor(const pair<size_t, size_t> &index) const;
bool isMasked(const pair<size_t, size_t> &index) const;
double l2(const pair<size_t, size_t> &index) const;
double twoTheta(const pair<size_t, size_t> &index) const;
double signedTwoTheta(const pair<size_t, size_t> &index) const;
V3D position(const pair<size_t, size_t> &index) const;
Quat rotation(const pair<size_t, size_t> &index) const;
Scanning access

## Slide 30
Helper class for scanning workspace construction
Scanning Workspace Builder
ScanningWorkspaceBuilder(size_t nDetectors, size_t nTimeIndexes, size_t nBins);
void setInstrument(shared_ptr<const Instrument> instrument);
void setTimeRanges(const vector<pair<DateAndTime, DateAndTime>> &timeRanges);
void setTimeRanges(const DateAndTime &startTime, const vector<double> &durations);
void setPositions(vector<vector<V3D>> &positions);
void setRotations(vector<vector<Quat>> &rotations);
void setInstrumentAngles(vector<double> &instrumentAngles);
MatrixWorkspace_sptr buildWorkspace();
⚠ Work in progresss!

## Slide 31
See https://github.com/mantidproject/mantid/tree/d2b_loading
D2B Loaded Workspace

## Slide 32
DetectorInfo and SpectrumInfo implemented in MantidAPI – currently these wrap the ‘real’ *Info classes and provide time indexed access
getDetector() methods for MatrixWorkspace and Instrument refactored in most of Mantid – thanks to maintenance effort
ScanningWorkspaceBuilder nearly complete
D2B loader in progress – basic construction working
Current Status

## Slide 33
Saving/Loading to Mantid NeXus format – need to save and load the time indexing information
Instrument View – see instrument view for each time index or a combined view
Testing within a workflow – making algorithms that work with detectors aware of time indexing
Testing with other ILL instruments
Future work planned by ESS on Instrument 2.0 – for example ComponentInfo
Future Work

## Slide 34
Overview of Mantid at the ILL
Current status and future plans
Backscattering reduction (Gagik)
Time-of-flight spectroscopy (Antti)
Scanning instruments (Ian)
Summary
(Verena)