## Slide 1: Linking Data Reduction and Data Analysis with Mantid
Anders Markvardsen
ICANS, Oxford, April 2017

## Slide 2
Mantid, reduction and analysis
Methods for linking with Mantid
Examples

## Slide 3
Aims
  Data reduction/analysis framework for neutron scattering and muon experiments
    Cross-platform
    Easily extensible
    Freely redistributable
    Open source
Adoption
  4 Partner Facilities
  8 Contributing Organisation
  In use on 52 instruments worldwide
In one slide Mantid
Notes: So Neutron scattering is very powerful, but without software to help understand the results of these large instruments they are worthless

## Slide 4
Raw data
Reduced data
Neutron or Muon counts
Meta information
Measurement artefacts
Measurement artefacts removed
Scientific Units
Size: compressed or expanded

## Slide 5
Reduction steps include:
Normalise to data collection time
Remove background
Ignore noisy and dead pixels
Adjust detector positions
TOF ↔ momentum transfer
Focus data (summing spectra)
Tidy up extremes of data
Absorption corrections
Detector efficiency vs wavelength
Incident beam vs wavelength
Notes: Normalise to data collection time (beam current or monitor counts)
Remove background (stray neutrons in beamline and electronic noise) – empty instrument data set
Masking (ignore noisy or dead pixels)
Focusing and grouping into banks (sum detectors in d-spacing: use calibrated detector positions to convert from tof to d)
Crop (tidy up extremes of data set: no neutrons because chopper closed, or “noisy” data due to low number of counts)
Corrections: vanadium absorption and multiple scattering
Corrections: sample absorption only (and only if sample is absorbing!)
Detector efficiency & incident neutron spectrum both vary (separately) with wavelength – the vanadium data set corrects for both these effects)

## Slide 6
Raw data image
(16 bit TIFF)
Reduction steps may include:
Background noise removed
Crop the region of interest
Mask dark and bright pixels
Filters (Median/Gaussian)
Stripe removal
Reduced data image
(32 bit TIFF)

## Slide 7
Reduction steps include:
Correct for detector efficiencies
Adjust detector positions
Adjust incident energy
TOF ↔ energy and momentum transfer
Raw data
Reduced data

## Slide 8: In summary
What is data reduction?
Anything you do on the raw data before you try to analyse the data

## Slide 9: Data analysis examples
Tomographic reconstruction
  MuhRec, Tomopy, SAVU, Octopus
Simulation software
  CASTEP, CRYSTAL, McStas, nMoldyn
Domain specific fitting software
  Sasview, GSAS, Fullprof, FABADA, TobyFit

## Slide 10: Methods for linking
By data format
By algorithms
By function
By using Mantid through Python
By the script repository

## Slide 11: By data format
SasView
by CanSAS format
by event data format
Notes: Advantages include:
Can revisit later
Persistence
Logic encapsulated in loader/saver
Non expert can use
Save to disk can be made optional

## Slide 12: By algorithm
http://docs.mantidproject.org/nightly/algorithms/Abins-v1.html

## Slide 13: By function
A Mantid fitting function to optimize simulated QENS spectra against experiment
Requires external python library dsfinterp (https://pypi.python.org/pypi/dsfinterp/0.1)
DSFinterp1DFit
Notes: Modified slide originally from Jose Borreguero

## Slide 14: By using Mantid through Python
Import Mantid
Import MyAnalysisSoftware
….

## Slide 15: By script repository
Example content:
Notes: No knowledge of git required
Easy to share scripts
No coding standards & automated tests required

## Slide 16: McStas ↔ Mantid
Peter Willendrup 16:40 Thursday
Mads Bertelsen 17:05 Thursday
http://docs.mantidproject.org/nightly/algorithms/LoadMcStas-v1.html
Nielsen., T.R. et al., McStas and Mantid integration, J. of Neut. R., 61-77, 2015
Notes: Take instrument design one step further
Pre-experiment analysis
Multiple scattering for general geometries?

## Slide 17: Example of analysis software in Mantid
http://www.isis.stfc.ac.uk/groups/muons/muon-data-analysis-workbook14904.pdf
https://www.e-neutrons.org/

## Slide 18: Conclusions
Mantid is designed to be easy to link to and to work with
Also Mantid has:
a well supported fitting engine
and an increasing number of tools for comparing experimental and simulated data

## Slide 19
Contributors
Partners
Prime Contractor
Contributors