## Slide 1: Bastille - Mantid
Progress July-October 2016

## Slide 2
Mantid team (Verena, Gagik, Antti + Ian) recruited and trained
Work concerning IN16B and IN4/IN5/IN6 started (continuing previous efforts by S. Howells for BS and R. Ferraz-Leal and A. Wilcke for TOF)
Agreement between Mantid & Lamp for simplest cases
September → Presentation of Backscattering & TOF to spectroscopy group – deploy and support software
Summary Last PMC meeting
30 June 2016
Notes: Can say here that working through BS and TOF is an opportunity to reflect on how to run the project most efficiently eg. completeness of initial requirements, scope creep, unforeseen challenges, frequency and nature of meetings, learning to work with Mantid and contributing to the project (code reviewing), generic improvements, etc

## Slide 3
Just started design of new implementation!
Evaluation/comparison 
Requirements/workflow 
Validation
GUI
Postponed! 2017 – No NeXus yet!
1/10/16
1/1/17
Notes: Say that this is/was a provisional planning (GANTT chart), to be reviewed based on experience acquired. First work may take longer than anticipated, later work may be quicker due to experience acquired and generic improvements that have been implemented (eg multiple file handling). BUT developed software will also have to be supported ie more support and less development as project progresses…

## Slide 4
Start mid-Nov?
Evaluation/comparison 
Requirements/workflow 
Validation
GUI (IndirectILLReduction)
Start mid-Nov?
1/10/16
1/1/17
Notes: Important point here is to decide on what to do next and how – probably in DS Head of Service meeting.

## Slide 5
Ian Bush, Antti Soininen: TOF
Verena Reimund, Gagik Vardanyan: Backscattering
Weekly meetings:
+ Bjorn Fak, Tilo Seydel,
Eric Pellegrini, Miguel A. Gonzalez
Working team

## Slide 6
Data treatment validated  I(2,), S(Q,), G()
Working using scripts - OK
Need to improve (accelerate: pyC++) self-shielding correction algorithms (CylinderPaalmanPingsCorrection, FlatPaalmanPingsCorrection, ApplyPaalmanPingsCorrection)
Still need to decide on user interface (data processor UI developed at ISIS, ~reflectometer)
IN5 – Single Crystal (Vates)
Status TOF (IN4/IN5/IN6)
Notes: I think what you have is more than ‘basic’! GUI: need to decide on this (auto-generated GUI exists!) – probably merge with BS for uniformity at ILL. ISIS and SNS have not standardised in this way. Also mention algorithm runner (reflectometry development) for handling many data sets (like prox sheet in Lamp). Can also emphasise that GUI will offer all options in a standard way, avoiding problem of circulation of incomplete or partial scripts.

## Slide 7
Status TOF (IN4/5/6)

## Slide 8
Status TOF (IN4/IN5/IN6)
  DOS: Mantid calculation based on S(Q,) vs Lamp based on S(2,). Coherent vs incoherent?
I(2,)
G()

## Slide 9
Status TOF (IN4/IN5/IN6)
S(Q,)

## Slide 10
Status BS (IN16B)
Data treatment validated
QENS and Fixed window scans (elastic & inelastic)
GUI exists (based on adaptation from existing ISIS UI), but converge to similar UI shared by TOF and BS?
Provide possibility to customize integration ranges (vertical PSD tubes, energy channels for FWS)? For PSD it is possible through XML detector group file
IN13 (not immediately – NeXus needed)

## Slide 11
Status BS (IN16B)

## Slide 12
Status BS (IN16B)
Notes: Highlight that elastic scans were not handled in June – this is completely new with all the options

## Slide 13
Summary of progress since June
IN16b
  Improve data loader – handling single and multi detectors
  Multiple options needed for IN16B data – mirror modes, fixed window scans (elastic and inelastic)
  Elastic peak alignment including when data has no elastic peak
  GUI developments
Scope well defined by LAMP data treatment – little ‘creep’
Details in https://github.com/mantidproject/documents/tree/ master/Project-Management/ILL/Weekly_Meetings
Notes: Say that this slide and the next two are based on notes from weekly meetings (see GitHub)
Multiple numors not handled previously in Mantid – not surprising at SNS (event mode data), more surprising at ISIS. * means valid for TOF and everywhere else in Mantid

## Slide 14
Summary of progress since June
IN4/5/6
  IDFs (Instrument Definition Files) revised
  Monitor spectra and incident energy calibration
  GUI: investigate DGS & MLZ approaches and algorithm runner and data processing
  Further investigation of data corrections (beyond LAMP)
    Absorption corrections, detector efficiency, vanadium DW, frame overlap, absolute units
Scope defined by LAMP and Bjorn’s requirements – some ‘creep’ in going beyond what is currently available
  E.g.: Vanadium lattice dynamics, calculation of detector efficiencies
  Multiple wavelengths (IN4)

## Slide 15
Summary of initial progress since June
Generic
  Handling multiple numors including metadata
  Changes in NeXuS files
  Dealing with exceptions and ‘bad’ cases
  Unit and system tests
  Documentation
  Code reviewing for project (5-10% of time/effort)
Refining and polishing takes longer than creating basic framework – the devil is in the detail
“The first 90 percent of the code accounts for the first 90 percent of the development time. The remaining 10 percent of the code accounts for the other 90 percent of the development time” — Tom Cargill, Bell Labs

## Slide 16
Instrument geometry
IN4:
  IDF completed. Errors existing in 1st version (orientation of detectors, size) have been corrected and the last doubts about detectors’ geometry solved
IN6:
  IDF completed. Detectors grouped in banks and monitor positions corrected. Also found that detector positions at 2 > 102 were wrong by 0.8 (thanks to Bjorn who rediscovered a report by Ken Andersen from 1991, they have been incorrectly written between ~2000 and 2016).
IN16B:
  Handle properly single detectors (use NeXuS file to determine used slots)
  Handle data taken separately during Doppler acceleration and deceleration

## Slide 17
IN4: Initial IDF

## Slide 18
IN4: Present IDF

## Slide 19
IN6: Initial IDF

## Slide 20
IN6: Present IDF

## Slide 21
IN16B: Mirror sense

## Slide 22
Documentation
https://github.com/mantidproject/documents/tree/master/Project-Management/ILL
Notes: Working ILL documentation. Notes for us. Different from algorithm doc.

## Slide 23
Tests and code revision

## Slide 24
Algorithms developed or extended
  Created:
  IndirectILLReduction
  IndirectILLFixedWindowScans
  SelectNexusFilesByMetadata
  MatchPeaks
  BinWidthAtX
  MedianBinWidthAtX
  GetEiMonDet v. 2
  ExtractMonitorSpectra
  WorkflowAlgorithmRunner
  Modified:
  MergeRuns
  CalculateFlatBackground
  ILLIN16BCalibration
  CreateSampleWorkspace
  DetectorEfficiencyCorUser
  FindEPP
  LoadILLIndirect
  LoadILLTOF
  …
https://github.com/mantidproject/mantid/projects/2

## Slide 25
Planning
“Complete” current work for TOF & BS (Dec 2016)
Absorption corrections:
  Accelerate algorithm
  Implement in workflow
GUI + algorithm runner for TOF/BS
  Design & discuss with BF and TS + related discussion to data process UI
  Prototype and tests
First real tests in IN4 and IN16B
  Feedback from B. Fak, T. Seydel and users
  Correct/implement requests
  Deploy in IN5 and IN6 this year
Maintenance
Notes: Tentative date for this could be end of year?

## Slide 26
Planning
New techniques – Proposition to discuss with IGLs
SANS (D11, D22, D33)
  Decompose work in granular tasks
  Loaders for D11 and D22 + revise D33 loader
  Revise and evaluate existing algorithms and workflows
  Implement one of the existing solutions (ideally) or design new one
Reflectometry (D17, Figaro)
  Decompose work in granular tasks
  Loader for Figaro + revise D17 loader
  Only TOF option initially (i.e. Cosmos)
  Check ISIS interface and adapt it or design a new one
SANS & REF: First tests and feedback during cycle 2017-2?
Powder diffraction (D20, D1B)
Notes: Refine requirement given BS/TOF experience and give more realistic timeline

## Slide 27
Planning
Other work:
  Scanning instruments (IAN BUSH)
    New design (discussions during NoBUGS Oct. 2016) based on Instrument 2.0 (refactor work to deal more efficiently with big instruments - ESS)
    Prototype (D7, D4, D2B, D16)
  BLOSC compression (not immediate)
Organization:
  Daily stand-up meetings + frequent contacts with involved instrument scientists
  Sprint meetings: one technique (person)/week & goals for 1 month
Project training:
  Full team will follow a 2-days training for better management of scope & deliverables
  NoBUGS Oct. 2016, Mantid workshop + MB meeting (May 2017)
Notes: Scanning instruments and instrument 2.0 is a must for Ian

## Slide 28
Thanks!
Questions?
Notes: Scanning instruments and instrument 2.0 is a must for Ian