## Slide 1
Date: 13 Feb 2018, Update 09 July 2018
Instrument Setups at V20 to be used for ‘Instrument definition files’
Diffraction
2 configurations of 3He tubes
  V20_4-tubes_90deg_Definition_v01.xml
  V20_4-tubes_150deg_Definition_v01.xml
Can you please ensure that both files are according to the drawings on the next slides?
The DENEX setup will be requested later
Transmisison/Imaging
Beam monitor used as transmission detector
  V20_BM_Transm_Definition_v01.xml
  V20_MCP_512x512_Transm_Definition_v01.xml
The transmission (imaging) setups will also be defined in this way soon!

## Slide 2
8
He detector geometry
35mm
7
6
5
35mm
35mm
D=25.4mm
320mm
Unfortuntaley I do not have the height of the detector element with respect to the beam.
Let us assume center for now

## Slide 3
8
He detectors
Sample in V can
2q=90°
n
7
6
5
Source
S#2
S#3
He detectors
Sample in V can
2q=150°
n
8
7
6
5
Source
S#2
S#3
Sample
L1=50.6m
(from cold Source)
L2 = 0.41m
Sample
L1=50.6m
(from cold Source)
L2 = 0.775m
V20_4-tubes_150deg_Definition
V20_4-tubes_150deg_Definition

## Slide 4
8
He detectors
Sample
50.6m
(from cold Source)
2q=90°
7
6
5
Denex detector
L2 = 0.41 m
8
7
6
5
2q=150°
Sample
50.6m
(from cold Source)
L2 = 0.775m
He detectors
V20_4-tubes_150deg_Definition
V20_4-tubes_150deg_Definition

## Slide 5
L2
8
He detectors
Sample in V can
2q=90°
n
DIFC=252.816 * 2* L * Sinq
L1
Total time of flight distance L = L1 +L2
7
6
5
Source
S#1
S#2
Denex detector
L2’
L2
He detectors
Sample in V can
2q=150°
n
DIFC=252.816 * 2* L * Sinq
L1
Total time of flight distance L = L1 +L2
8
7
6
5
Source
S#1
S#2
Denex detector
L2’
2q=90°

## Slide 6
n
Source
S#1
S#2
Sample
L1 = X m
(from cold Source)
1 channel
Beam monitor used as detector
The position of sample (L1) and beam monitor (L2) should be adjustable (easily as input parameter)
We use any position from L1=47.2m up to L1=55m
Question: Should we define L2 as center of beam monitor or at front?
Slit 2 and Slit 3 are adjustable and are changed. Are these even in the IDF?
Note: In a similar way, we also use imaging cameras (for example 512x512 pixels with 55um pixel size as we defined before). See separate IDF request
  V20_BM_Transm_Definition_v01.xml
L2
Dimensions of Beam Monitor
Active Window:
Width: 40mm
Height: 105mm
Depth 40mm

## Slide 7
Sample
n
Source
Slit #3
Slit #2
Sample
L1=Xm
(from cold Source)
1 channel
Beam monitor used as detector
  V20_BM_Transm_Definition_v01.xml

## Slide 8
n
Source
S#1
S#2
Sample
L1 = X m
(from cold Source)
512 x 512 pixel
TOF Imaging camera
Will soon define all the imaging detectors. We use 3 different types so far.
  V20_MCP_512x512_Transm_Definition_v01.xml
L2
  V20_MCP_512x512_Transm_Definition_v01.xml
Dimensions of MCP detector
Pixel size: 55um
Pixel X: 512, Pixel Y: 512
Pixel ID’s: from top left
0
x
y
The position of sample (L1) and beam monitor (L2) should be adjustable (easily as input parameter)