# Muon Frequency Domain analysis

# Summary:

The plan is to have an interface to allow Mantid to process muon data in the frequency domain. This document should outline what we want to do with it.

# Typical experiments:

- With no defined axis, e.g. powder or polycrystalline ordered magnetic materials in zero field.

- With a defined field axis, i.e. “Transverse Field”: Superconductors, muonium, organic radicals, semiconductors, RF resonance.

# Usage examples:

- Extract the frequency spectrum, look at it (maybe overlaying several runs), save it in a workspace or export it. Perhaps plot it in a waterfall plot versus a log value?

- Extract the frequency spectrum and then fit peaks or other functions to it. Perhaps do a Sequential (batch) fit over a range of runs and generate a table of fit parameters versus log values, as in Muon Analysis.

- Extract the frequency spectrum, find the peaks, then move to the time domain (Muon Analysis) and set up a series of oscillating fit functions corresponding to those peaks. Fit more precise frequencies there.

# Tabs/stages

## Load Data

As with ordinary Muon Analysis, either Browse for files, or select an instrument and type in just the run number or “Current run”. Allow co-adding of runs for better statistics.

## Grouping

Perform Dead Time calibration (on and “from data file” by default, option to turn off or provide other values).

Select grouping type 0 (raw counts), 1 (LF) or 2 (TF). For 0, choose a detector or group and maybe do the exponential correction for the muon lifetime. For 1, load or choose the grouping and process with AsymmetryCalc. For TF (2), process with PhaseQuad. Perhaps plot the time dependent data at this stage. Adjust (or accept defaults for) good data range and t0.

Calibration: for case 1 have an option to determine “Alpha”. For case 2,optionally run CalMuonDetectorPhases (on a data set where a single frequency is expected) or alternatively generate phases from the instrument geometry, given the field axis. Alpha, or detector phases, are then kept for loading subsequent runs.

Periods: as with other Muon interfaces allow periods to be chosen, added/subtracted, etc.

## Transforms

Grouping types 0 (raw counts) and 1(LF) will work with a Real input data set while 2 (TF) works with a Complex data set.

The transform might have (a) completely free phases, (b) phases constrained to be zero at some time t (perhaps, but not necessarily, t0), or if possible (c) phases constrained to be equal to each other, but not necessarily zero, at some time t.

Some example combinations:

| Data type | Transform input | Constraint | Map outputs | Note |
| --- | --- | --- | --- | --- |
| Single detector | Real data (t>0) | None | Complex map (f>=0) |  |
| Single detector | Real data (t>0) | Phase fixed at phi0 at t=t0 | Real map (f>=0) | 1 |
| Single detector | Real data (t>0) | Phases equal at t=t0 | Real positive map (f>0) and value of phi0 | 2 |
| F-B grouping | Real data (t>0) | None | Complex map (f>=0) |  |
| F-B grouping | Real data (t>0) | Phase 0 at t=t0 | Real map (f>=0) | 1 |
| F-B grouping | Real data (t>0) | Phases 0 at t=t1 | Real positive map (f>0) and value of t1 | 3 |
| PhaseQuad | Complex data (t>0) | None | Complex map (-f…+f) |  |
| PhaseQuad | Complex data (t>0) | Phase 0 at t=t0 | Real map (-f…+f) |  |
| PhaseQuad | Complex data (t>0) | Phases equal at t=t0 | Real positive map (-f…+f) and value of phi0 | 4 |
| PhaseQuad | Complex data (t>0) | Phases 0 at t=t1 | Real positive map (-f…+f) and value of t1 | 4 |

- The value of t0 is not in general an integer number of bins. So the raw FFT of the data bins will have a linear phase shift with frequency, to be corrected: RawFFT(f)=TrueMap(f)*exp(i*f*t0). With experimental data the imaginary part of the corrected complex transform will just contain “noise” unless the user’s assumption of phase zero at t=0 is wrong. I think with FFTs we should always do the complex transform, adjust for partial t0 bins and other phase shifts, then where appropriate throw away the imaginary part (with warnings if there are peaks above noise level left in it?).

- The single detector chosen might have any phase from 0 to 2pi, in a transverse field experiment. Requiring a real output leaves an uncertainty of a phase shift of pi, solved by insisting that the most intense peak (at non zero f) is positive. Noise, or unusual extra peaks, could still come out negative. Maxent could optionally go further by forcing the map to be >=0 everywhere.

- With a powder or polycrystalline sample in zero field the phase of the F-B oscillations should always start at zero, though maybe after a delay while the muon finds its stable site.

- With several widely spaced lines in the spectrum it may be possible to determine both phi0 and t1, however I’d suggest leaving this option out for now.

Choose from FFT, MaxEnt, or perhaps other transform types to be added in future. Allow internal parameters to be adjusted (with care! Perhaps have them highlighted in yellow if not at the default and red if outside the physically meaningful range). For FFT choose an apodising function (which may have adjustable parameters).

Select the frequency (map) resolution. By default this is delta f = 1/(time length of spectrum used) but delta f can be reduced for more rounded peaks, which should then have equal widths and amplitudes whether they have an integer number of cycles in the time window or not. For FFT we might pad the raw data with zeros at the end. For MaxEnt I think there is no need to explicitly add zeros to the time spectrum, instead the reverse transform of the fine map gives a long time spectrum and only the initial portion of this is compared to the data when calculating “chi-squared”.

Allow the non-oscillating part of the time domain signal to be subtracted off so it doesn’t give a large sloping background from the transform of a step function at t=0. The sudden step up in oscillating amplitude when joining t=tgood_end back to t=tgood_begin (with what was meant to be a slowly relaxing oscillation) can also introduce artefacts. Wimda has an option “Fit and Subtract Diamagnetic Signal” which could help.

Optionally correct the output amplitudes for the instrumental frequency response (at ISIS that’s due to the pulse width, and maybe double pulse). We may need some way to enter/manage calibration data here especially when MuSR gets its pulse slicer.

Choose whether the output is displayed as frequency or as equivalent field. This will use the muon’s gyromagnetic ratio for conversion.

Select the frequency (or field) span for display. Usually the maximum useful frequency is set by the instrumental frequency limit rather than the bin spacing in the time spectrum. The minimum may usually be zero but sometimes we want a closer look at a sharp line, or may want to plot from –f to +f in the case of data from PhaseQuad. This entry box would set the default when the window is reopened for the next run. It should be possible to click on the plot axes and rescale temporarily. Rescaling y may also be needed when we have lines of widely varying intensity.

Allow plots to be overlaid (e.g. different periods within a run, different and not necessarily consecutive runs, etc.) Allow use of the “Screen reader” or a similar cursor to read off the frequencies of peaks.

## Fitting (Data Analysis)

Choose to fit to the real, imaginary, amplitude, or perhaps Phase spectrum. Define the good frequency range with Start F and End F values. Fit a series of peaks / background / other functions to the spectrum. Is there a “Find peaks” button we can use? As usual, overlay peaks and total model curve on the plot. Save the parameters in a table vs. run number as in Muon Analysis. Options for “Plot guess” and Sequential (batch) fitting, and eventually Multi data set fitting across periods or runs just as in Muon Analysis. (Multi data set fitting between groups may not make sense here)

As with the normal Muon Analysis window, once the transform is set up to one’s liking, it should be possible just to visit the “Load” and “Fit” tabs for each subsequent run and the transforms are processed automatically.

A magic “Switch to Time Domain” button would be nice, and maybe not too hard to implement if we have a combined time and frequency interface. That moves over to the time domain with the fit functions all set up as the transforms of the ones just used, including initialising the parameters, and the same run loaded. For example change Lorentzian (peak) to ExpDecayOsc or Gaussian to GausOsc.

## Results Table

This works exactly as in Muon Analysis. Generate a table from selected individual fits or a sequential fit. Include column(s) for chosen log values.

# Notes

Frequency Analysis and Muon Analysis (and Muon ALC) must co-exist and we might load the same runs into each interface over the course of one experiment and one Mantid session. They could both put their data in the same Workspace Group corresponding to each run, without overwriting things. The Results Tables (as yet not written to a Mantid Table) must not conflict or get mixed up.

Bunching data will reduce the number of data points for MaxEnt to process while also reducing the maximum frequency in the map. This may not matter provided the maximum is still well above the actual peaks in the spectrum, and any additional frequency response correction is done. But what happens to the noise performance?

Is there sometimes a benefit to doing transforms of each time spectrum individually and adding or averaging the frequency spectra (Wimda has the option to do this with FFT)? It might work if we don’t know the detector phases well (e.g. high frequency RF) and can’t find a single frequency for CalMuonDetectorPhases() to work with.

Some versions of MaxEnt can also work with individual spectra as input, with each compared to the same map with a different phase and perhaps different t0 and amplitude scaling. That may make it easier to deal with the low stats points at late times where the least squares approximation fails.

How exactly does the “Correlation spectrum” in Wimda work? Do we want to include it?

# One Interface or Two?

Should this be a completely separate interface to Muon Analysis, with much duplicated code inside, or subtle differences between the interfaces to trap the unwary user? Or should it be implemented as one or two extra tabs in the main Muon Analysis interface, where it might present the new user with too many options?

The “Frequency analysis” tab in the combined interface could have an option “Do Frequency Analysis” at the top and all the rest is hidden until it is ticked.